Address for User Panel’s Buttons and Indicators

PB1 Selector PB2 PB3  PB4   PB5  PB6  ESTOP
%I126.7     .6      .5      .4      .3     .2      .1       .0

Potentiometer %IW128

%Q128.6    .5      .4      .3      .2       .1       .0
      LED1 LED2 LED3 LED4 LED5 LED6 LED7

IP address and Profinet Device Names

Drive_2
192.168.0.7

Switch_1
192.168.0.2

PLC_1
192.168.0.1

IO device_1 192.168.0.4

HMI_1
192.168.0.5

Sensor_Inductive
%I127.3

Motor_FWD %Q129.0
Motor_REV %Q129.1

Address for Conveyor System

Solenoid
%Q129.2

Sensor_Start
%I127.1

Sensor_Slide
%I127.0

Sensor_End
%I127.2