## Slide 1: Solution to Tutorial 6, Question 6
6. A balanced delta-load with impedances each of 27Ð-25o W and a balanced Y-load with impedances each of 10Ð-30o W are both connected to a three-phase, three-wire, 208 V, ABC system. Find the total line currents in phasor form and the power in each load. Take VAB as the reference.
Ans: IA = 25.3Ð-2.62oA, IB = 25.3Ð-122.62oA ,
IC = 25.3Ð117.38o A or 25.3Ð-242.62o A,
PD = 4355.6 W, PY = 3747 W

## Slide 2: Solution to Tutorial 6, Question 6
Solution: Given VL= 208 V
IC1
IC2
IA1
IA2
A
C
B
27 Ð-25o W
27 Ð-25o W
27 Ð-25o W
A
C
B
10 Ð-30o W
10 Ð-30o W
10 Ð-30o W
A
C
B
Z2
IAT
ICT
IBT
IB1
IB2

## Slide 3: Solution to Tutorial 6, Question 6
Solution:
Given VL = 208 V
For star load,
Taking VAB as reference, VAB =208Ð00 V
IC1
IA1
A
C
B
10 Ð-30o W
10 Ð-30o W
10 Ð-30o W
A
C
B
IAT
ICT
IBT
IB1
IC2
IA2
A
C
B
27 Ð-25o W
IB2

## Slide 4: Solution to Tutorial 6, Question 6
Solution:
Given VL= 208 V
For delta load,
Taking VAB as reference, VAB=208Ð00 V
IC1
IA1
A
C
B
10 Ð-30o W
10 Ð-30o W
10 Ð-30o W
A
C
B
IAT
ICT
IBT
IB1
IC2
IA2
A
C
B
27 Ð-25o W
IB2
IAB

## Slide 5: Solution to Tutorial 6, Question 6
Solution:
Total line current, IAT = IA1+ IA2

## Slide 6: Solution to Tutorial 6, Question 6
Solution:
Power for Star Load
Power for Delta Load