## Slide 1: Solution to Tutorial 7, Question 2
2. A 415 V, 50 Hz, three-phase distribution system supplies a 20 kVA, three-phase induction motor load at a power factor of 0.8 lagging, and a star-connected set of impedances, each having a resistance of 10 W in series with an inductive reactance of 8 W. Calculate the phase capacitance of delta-connected capacitors required to improve the overall power factor to 0.95 lagging.
Ans: 72.1 mF

## Slide 2
Solution:Given VL = 415 V, f =50 Hz,
Load1: Induction Motor, SIM=20 kVA,cos FIM = 0.8 lag
Load2: ZY = (10+j8) W
D-Capacitor Bank added- new pf = cos F2 = 0.95 lag
Solution to Tutorial 7, Question 2
Recap: For a balanced star or delta load,
Apparent power S =  VL IL (VA)
True power, P = 3 VL IL cos  (W)
= S cos 
Reactive power, Q = 3 VL IL sin  (VAR)
= S sin 

## Slide 3
Solution:
Load 1: Induction Motor
Load 1 – Induction Motor
SIM
PIM
QIM
lagging power factor

## Slide 4
Solution:
Load2: ZY = (10+j8) W
Load 2- Star-connected impedances
PY
QY
lagging power factor

## Slide 5: Power Triangles of Combined Loads
PY
QY
lagging power factor
SIM
PIM
QIM
lagging power factor
Load 2 – Star-connected load
Load 1 – Induction motor

## Slide 6: Power Triangle of Combined Loads
P1
Q1

## Slide 7: Power Triangle of Capacitor Bank
To improve to 0.95 lagging
Introduce delta-connected capacitors for correction
P1=26.5 kW
Q1=20.4 kVAR
Combined loads Power Triangle
SC = QC
Capacitor Bank Power Triangle

## Slide 8
After Power Factor Correction
Power Triangle of after Correction
P1= 26.5 kW
Q1 = 20.4 kVAR
SC = QC
f2
= PT
QT = Q1 - QC
New power factor = cos f2 lagging

## Slide 9: Value of the Phase Capacitor
From rating of capacitor bank, QC = SC
SC(PH) =
Capacitor bank connected in delta
Phase voltage of capacitor bank = line voltage = 415 V
IPH =