## Slide 1: Solution to Tutorial 8, Question 2
2. A 3-phase, 4-wire, 440V system is loaded as follows:
Resistance loads of 150 kW, 250 kW and 400 kW
connected between neutral and the A, B and C lines
respectively. Calculate the:
line currents,
neutral current (flowing towards the supply) and
total power of the system.
Phase sequence, ABC. Take VAN as reference.
Ans: IA = 590.48Ð0o A, IB = 984.14Ð-120o A, IC = 1574.62Ð-240o A,
IN = 857.95Ð143.41o A, Total power = 800 kW

## Slide 2: Solution to Tutorial 8, Question 2
Solution: Given VL = 440 V
Taking VAN as reference,
Resistance load angle is 00

## Slide 3: Solution to Tutorial 8, Question 2
Solution:
Resistance load angle is 00

## Slide 4: Solution to Tutorial 8, Question 2
Solution:
Resistance load angle is 00

## Slide 5: Solution to Tutorial 8, Question 2
Solution:
Neutral current, IN = IA+ IB + IC (towards supply)