## Slide 1: Unit 5 Series Circuits
Part B: Laws and Rules Governing Series Circuits

## Slide 2
What will you learn?
  What a circuit node is
  What a circuit loop is
  Kirchhoff’s Voltage Law
  Equivalent or total resistance
  Voltage Divider Rule
  Relationship of the power delivery and power dissipation of the circuit components.

## Slide 3
What is a node in a circuit?
  In a given electrical circuit, there are connecting points where elements meet.
    The circuit here shows these meeting points as A, B, C and D.
    A meeting point has same voltage level throughout.
    Example: Node B is the meeting point for R1, R2, R3 and R4
    Node D is the ground and is often not named.

## Slide 4
What is a loop in a circuit?
  A loop in an electrical circuit is a closed path that starts at a node, proceeds through some circuit elements (branches), and returns to the starting node.
    A loop cannot pass through any node more than once.
    Loop X & Y are valid loops.
    But not Z which passes by Node B twice.
    The circuit has 6 valid loops in total.

## Slide 5
Summation Sign: The total sum of …
Kirchhoff’s Voltage Law (KVL)
  Kirchhoff’s Voltage Law states that
    The algebraic sum of all the voltages in a closed loop or circuit is zero
    That is, if a voltage rise is considered positive, and a voltage drop is negative, then

## Slide 6
Kirchhoff’s Voltage Law (KVL)
  Alternatively KVL states that
    The sum of all voltage rises equal to the sum of voltage drops
Summation Sign: The sum of …

## Slide 7
Example 1: Apply KVL to determine voltage drop V3 in the circuit.
  KVL states that the algebraic sum of all the voltages in a closed loop or circuit is zero.
A
D
B
C
E

## Slide 8
Equivalent Resistance in Series Connection
  Recall Ohm’s Law: Voltage drop across a resistor is equal to the current flowing through the resistor × the resistance of the resistor.
+
_

## Slide 9
Equivalent Resistance in Series Connection
  When there are more resistances connected in the circuit,
    applying Ohm’s Law to each resistance yields the following voltage drops:

## Slide 10
Equivalent Resistance in Series Connection
  Apply KVL to the circuit.
  Let be the total resistance or equivalent resistance, then

## Slide 11
Equivalent Resistance in Series Connection
  In general, the equivalent resistance is the sum of all resistances connected in series.
  where n is the total number of resistances.
  If all n resistances are of the same value R, then the equivalent resistance is

## Slide 12
Example 2: Determine resistance R in the circuit.
  The total resistance RT is given as 80 Ω.

## Slide 13
Voltage Divider Rule (VDR)
  By Ohm’s Law,
and
Therefore
VDR:

## Slide 14
Voltage Divider Rule (VDR)
  In general, the voltage across any series resistor is
  The VDR allows to calculate the voltage drop across a series resistor without calculating the circuit current as shown below:

## Slide 15
Voltage Divider Rule (VDR)
  Voltage is divided among the components in a series circuit based on the ratio of individual resistance to total resistance.
10 V
+
_
+
_
20 kΩ
80 kΩ
2 V
+
_
8 V

## Slide 16
Example 3: Apply VDR to determine the voltage drops in the circuit.
  Total resistance RT = R1 + R2 + R3
  RT = 10 Ω + 20 Ω + 30 Ω
  = 60 Ω
  Apply VDR to the circuit
  20 V
  40 V
  60 V

## Slide 17
Power dissipated in a series circuit
  The total amount of power dissipated PT in a series circuit is the sum of all individual amount of power dissipated.
    where P1, P2, P3 are individual power dissipated.
  The power delivered from the source PS is the product of source voltage VS and source current I.
  In a closed circuit, the power supplied is equals to total power dissipated in the circuit.

## Slide 18
Example 4: (a) Calculate the power dissipation of each resistor. (b) Calculate the total power delivered from the voltage source.

## Slide 19
You have learned that
  Concepts of circuit nodes and circuit loops are used to define Kirchhoff’s Voltage Law (KVL).
  KVL states that in a closed circuit loop, the sum of all voltage rises = the sum of all voltage drops.
  Equivalent resistance or total resistance of a series circuit,
  Voltage Divider Rule (VDR) calculates the voltage of any series resistor:
  Total power dissipated is the sum of all individual amount of power dissipated.

## Slide 20
Coming Up Next
  Analysis of Series Circuits